## Slide 1: Preparation of bacteriologic media
Need for culture media:
Bacteria: mixed population in nature, by appropriate procedures they have to be grown separately
Medium: nutrients, support growth

## Slide 2: Agar
Universally used for preparing solid medium
Obtained from seaweed: Gelidium
Not affected by the growth of the bacteria
Melts at 98c & sets at 42c
2% agar is employed in solid medium

## Slide 3: Types of culture media
Based on their consistency
Solid, liquid, semi solid
Based on the ingredients:
Simple medium
Complex medium
Special medium
Synthetic medium

## Slide 4: Types of culture media
Based on Oxygen requirement:
Aerobic media
Anaerobic media

## Slide 5: Types of culture media
Solid media: contains 2% agar, colony morphology, pigmentatiom, hemolysis can be appreciated
Liquid media: no agar, for inoculum preperation, eg (Nutrient broth)
Semi solid medium: 0.5% agar, eg (Motility medium)

## Slide 7: Simple media/ basal media
Most common in routine diagnostic laboratories ( Nutrient Agar)
NB consiss of peptone, meat extract, water, NaCl
NB + 0.5% Glucose= Glucose broth
NB + 2% agar = Nutrient Agar
Agar conc ( 0.2%-0.5%)= semi solid medium

## Slide 8: Types of culture media
Complex media:
Provide special nutrients
they have added complex ingredients such as yeast extract
consist of a mixture of many chemical species

## Slide 9: Types of culture media
Synthetic media:
Prepared from pure chemical substances
Exact composition is known
Used for special studies, eg ( metabolic requirements)
Peptone water

## Slide 12: Enrichment media
Used to isolate pathogens from mixed culture
Stimulate growth of desired bacterium
Media is incorporated with inhibitory substances to suppress the unwanted organism

## Slide 14: Selective media: the inhibitory substance is added to solid media increase in number of desired bacterium

## Slide 15: Mac Conkey Agar
Contains crystal violet & bile salts to inhibit Gram +ve bacteria, lactose & a pH indicator (neutral red) to determine ability to ferment lactose

## Slide 16: Indicator media

## Slide 17: Differential media

## Slide 18: Sugar media: Containing any fermentable substances

## Slide 19: Transport media (Buffered glycerol saline)

## Slide 20: Culture methods include
Streak culture
Lawn culture
Stroke culture
Stab culture
Pour plate culture
Liquid culture
Anaerobic culture

## Slide 22: Lawn culture

## Slide 23: Anaerobic culture methods
Production of a vacuum
Displacement of oxygen with other gases
Chemical method
Biological method
Reduction of medium